# DIY Plumbing Inspection Checklist

This DIY Plumbing Inspection Checklist is designed to empower homeowners with the ability to perform basic inspections of their plumbing systems. Conducting these inspections can help identify potential issues early, prevent costly repairs, and maintain the efficiency of your plumbing. Use this checklist to guide you through inspecting various components of your home's plumbing, ensuring everything is functioning properly.

## Overall System Check

Conducting a general inspection of your entire plumbing system helps catch common issues that might require attention or professional intervention. Regular checks can identify leaks, blockages, or wear and tear that could lead to more significant problems if left unchecked.

- Check for any signs of leaks in exposed pipes, including those under sinks and in the basement.

- Listen for strange noises coming from pipes or fixtures, which could indicate air in the pipes or other issues.

- Inspect around appliances and fixtures for any signs of moisture or corrosion.

- Test water pressure in various parts of the house to ensure it is consistent and adequate.

- Smell for any unusual odors that might indicate mold or mildew, which could signal hidden leaks.

- Verify that all shut-off valves operate smoothly and don’t leak when turned.

- Ensure there is no slow drainage in sinks, showers, and tubs, which could indicate clogs.

AI Prompts:

- ChatGPT, how do I check for leaks in my home plumbing?

- ChatGPT, what could cause low water pressure in my home?

- ChatGPT, how can I safely test and fix shut-off valves?

## Toilet Inspection

Toilets can be a common source of issues in home plumbing systems. Regular checks can prevent problems such as leaks, running water, and clogs. This step is crucial to ensure that the toilet operates efficiently, preventing water wastage and maintaining sanitation.

- Check the flush handle and internal components to ensure they operate smoothly.

- Look for signs of leaks around the base and back of the toilet.

- Listen to the toilet after flushing to make sure it doesn’t continue to run.

- Conduct a dye test in the tank to check for silent leaks.

- Inspect the water level in the tank to ensure it is not too high or too low.

- Check the sealing and condition of the wax ring under the toilet.

- Verify that all connections to the water supply are secure and leak-free.

AI Prompts:

- ChatGPT, how do I perform a dye test on my toilet?

- ChatGPT, what should I do if my toilet keeps running?

- ChatGPT, how can I replace a faulty toilet wax ring?

## Faucet and Shower Head Check

Faucets and shower heads are prone to wear and buildup, which can affect water flow and quality. Ensuring they are in good working condition can improve water efficiency and prevent plumbing issues. Regular maintenance such as cleaning and replacing faulty parts is essential for optimal operation.

- Inspect faucets for drips or leaks and repair as necessary.

- Check aerators on faucets for sediment buildup and clean or replace if clogged.

- Test hot and cold water supply to faucets to ensure proper function.

- Inspect shower heads for scale buildup and clean to restore proper water flow.

- Check for consistent water temperature and adjust the water heater if fluctuations occur.

- Ensure all fixtures are securely mounted and do not wobble or leak at the base.

- Review the condition of caulking around fixtures to prevent water damage.

AI Prompts:

- ChatGPT, how do I fix a leaky faucet?

- ChatGPT, how can I clean a clogged shower head?

- ChatGPT, what’s the best way to re-caulk around my bathtub?

## Water Heater Maintenance

Water heaters should be inspected regularly to ensure they are operating efficiently and safely. Maintenance tasks such as flushing the tank and checking the anode rod can extend the life of your water heater and improve its performance. This is crucial to prevent unexpected failures and ensure consistent hot water supply.

- Check the age of the water heater and consider replacement if it is near the end of its typical lifespan.

- Look for any signs of leaking or corrosion around the water heater tank.

- Test the pressure relief valve to ensure it is functioning correctly.

- Flush the tank to remove sediment buildup if you have hard water.

- Inspect the anode rod and replace it if more than half corroded.

- Ensure the area around the water heater is clear of flammable materials.

- Check for proper ventilation if you have a gas water heater.

AI Prompts:

- ChatGPT, how do I flush my water heater?

- ChatGPT, how often should the anode rod in my water heater be replaced?

- ChatGPT, what safety checks should I perform on my gas water heater?

## Drainage System Evaluation

Proper functioning of drainage systems is crucial to prevent backups and water damage. Regular inspections can help identify obstructions or damage that may impede the flow of wastewater. This step helps ensure that wastewater is efficiently removed from your home, preventing health hazards and maintaining a clean environment.

- Visually inspect all accessible pipes for signs of damage, such as cracks or wear.

- Use a flashlight to check for obstructions or buildup inside pipes where visible.

- Run water in all sinks, showers, and tubs to monitor for slow draining.

- Listen for gurgling sounds from drains, which could indicate venting issues.

- Check cleanouts for accessibility and ensure they are not obstructed.

- Inspect the condition of sewer lines if accessible, or consider a professional inspection.

- Evaluate the slope and alignment of visible pipes to ensure they promote proper drainage.

AI Prompts:

- ChatGPT, how can I unclog a slow drain?

- ChatGPT, what are the signs of a blocked vent pipe?

- ChatGPT, how should I maintain the cleanouts in my plumbing system?