# Preventative Plumbing Health Checklist

This Preventative Plumbing Health Checklist is designed to help homeowners maintain the health and efficiency of their plumbing systems. Regular preventative maintenance can prevent costly repairs and extend the lifespan of your plumbing. By following this checklist, you can identify potential issues before they become serious problems, ensuring your plumbing system operates smoothly and efficiently.

## Regular Inspection Schedule

Establishing a regular inspection schedule is crucial to maintaining the health of your plumbing system. Frequent checks can help catch issues early, preventing major damages and costly repairs.

- Inspect all exposed pipes and plumbing for signs of wear, leaks, or corrosion.

- Check faucets and showerheads for drips or leaks.

- Look for signs of water damage or mold around plumbing fixtures.

- Listen for unusual noises in the plumbing system, such as banging or whistling.

- Test water pressure to ensure it is within a safe range.

- Inspect toilet tanks and bowls for cracks or leaks.

- Check the function of all valves in the home, including shut-off and check valves.

AI Prompts:

- ChatGPT, how often should I inspect my home plumbing?

- ChatGPT, what are the signs of plumbing wear I should look out for?

- ChatGPT, how can I test my home's water pressure?

## Drain Maintenance and Care

Keeping drains clear and well-maintained is essential to prevent clogs and backups, which can lead to severe plumbing issues.

- Regularly clean stoppers and strainers in sinks and showers to remove debris.

- Use a bacterial drain cleaner to maintain clear lines without damaging pipes.

- Avoid disposing of grease, coffee grounds, and non-food items down the drain.

- Run hot water through the drains weekly to help clear away any buildup.

- Use a plumber’s snake to remove obstructions in deeper pipes.

- Schedule professional drain cleaning annually for high-use drains.

- Check and clean all air gaps in plumbing fixtures to ensure proper drainage.

AI Prompts:

- ChatGPT, what are safe ways to clear my kitchen drain?

- ChatGPT, how do I use a plumber's snake to clear a drain?

- ChatGPT, can you recommend a non-corrosive bacterial drain cleaner?

## Water Heater Maintenance

Water heaters are a critical component of the plumbing system and require regular maintenance to operate efficiently and safely.

- Drain and flush the tank every six months to remove sediment buildup.

- Check the pressure relief valve to ensure it is functioning properly.

- Inspect the anode rod and replace it if more than half is corroded.

- Adjust the temperature to 120 degrees Fahrenheit to optimize efficiency and safety.

- Insulate older water heater tanks and pipes to improve efficiency.

- Listen for cracking or popping sounds, which indicate sediment buildup.

- Consider a professional inspection if the water heater is over 10 years old.

AI Prompts:

- ChatGPT, how do I drain and flush my water heater?

- ChatGPT, what is an anode rod and why is it important?

- ChatGPT, how can I insulate my water heater?

## Sump Pump Check

For homes with basements or prone to flooding, maintaining the sump pump is vital to prevent water damage.

- Test the sump pump by pouring water into the pit to ensure it activates and pumps out water efficiently.

- Check the discharge line to ensure it is clear of obstructions and discharges water away from the foundation.

- Inspect the backup battery and replace it if necessary.

- Clean the air hole in the discharge line to ensure it is not blocked.

- Verify that the check valve is installed correctly and functioning.

- Listen for unusual noises when the pump operates.

- Consider having a backup sump pump, especially in areas with high water tables.

AI Prompts:

- ChatGPT, how do I test my sump pump?

- ChatGPT, what should I do if my sump pump makes noise?

- ChatGPT, how can I install a backup sump pump?

## Outdoor Plumbing Preparation

Outdoor plumbing requires specific attention to prevent freezing and cracking, which can lead to extensive damage.

- Insulate exposed outdoor pipes and faucets to protect against freezing temperatures.

- Drain and shut off outdoor faucets before winter.

- Clear gutters and downspouts to ensure proper drainage away from the foundation.

- Check sprinkler systems and irrigation lines for leaks or damage.

- Cover outdoor pipes and faucets with insulated covers.

- Regularly check for standing water, which indicates a leak or poor drainage.

- Schedule an annual inspection before the start of the cold season.

AI Prompts:

- ChatGPT, how do I insulate outdoor pipes?

- ChatGPT, what are the steps to drain outdoor faucets?

- ChatGPT, how can I ensure my gutters are draining properly?